## Inventory Template
name | quantity | category | code | unit | warehouse
1-phase Meters 15/60A | 0 | Metering Equipment | EMSP003 | pcs | Tema Central Warehouse
1-phase Meters 5/25A | 0 | Metering Equipment | EMSP004 | pcs | Tema Central Warehouse
10 sq mm PVC Cu. Conductor | 0 | Cables & Conductors | CCA018 | m | Tema Central Warehouse
100A Single Phase Fuse Unit | 0 | Service Connection Materials | SCM011 | pcs | Tema Central Warehouse
100A Three Phase Fuse Unit | 0 | Service Connection Materials | SCM012 | pcs | Tema Central Warehouse
10Cu/50Al | 0 | Connectors & Clamps | BTC021 | pcs | Tema Central Warehouse
16Cu/120Al | 0 | Connectors & Clamps | BTC022 | pcs | Tema Central Warehouse
25Al/50Al | 0 | Connectors & Clamps | BTC023 | pcs | Tema Central Warehouse
3-phase Meters 20/80A | 0 | Metering Equipment | EMTP005 | pcs | Tema Central Warehouse
33/0.25,0,0.25, 50kVA. 1-ph. | 0 | Transformers | DT33/1PH016 | pcs | Tema Central Warehouse
33KV Pin Insulators c/w Spindle | 0 | Insulators | IPA013 | pcs | Tema Central Warehouse
60A Single Phase Fuse Unit | 0 | Service Connection Materials | SCM013 | pcs | Tema Central Warehouse
70 sq.mm HD Cu Conductor | 0 | Cables & Conductors | CCA019 | m | Tema Central Warehouse
Cu. Binding Wire | 0 | Insulators | IPA014 | m | Tema Central Warehouse
Cu.Clamps for 35sqmm | 0 | Connectors & Clamps | BTC024 | pcs | Tema Central Warehouse
Strut Stay Equipment complete | 0 | Stay & Support Hardware | SMS002 | set | Tema Central Warehouse

## Audit (all 67)
material_name_in_report | decision | matched_existing_item | reason
1-ph Connections | DROP |  | aggregate/label or size-less generic
1-phase Meters 15/60A | NEW
1-phase Meters 5/25A | NEW
1-phase Meters, 15/60A | NEW
1-phase Meters, 5/25A | NEW
10 sq mm PVC Cu. Conductor | NEW
100A Single Phase Fuse Unit | NEW | fuseunit¦100¦1
100A THREE PHASE SERVICE CUT-OUT | IN STOCK | 100Amps 3-PH Service Cut-Out | exact
100A Three Phase Fuse Unit | NEW | fuseunit¦100¦3
10Cu/120Al | IN STOCK | 10 Cu/120 Al Bimetallic Connector | match bimet¦10cu/120al
10Cu/50Al | NEW | bimet¦10cu/50al
10sq.mm PVC Cu. Conductor | NEW
11KV Dropout Fuse Gear | IN STOCK | 11Kv Dropout Fusegear - Polymer | match dropout¦11
11KV Fuse links-10 Amps | IN STOCK | 11Kv Expulsion Fuselink - 10A | match fuselink¦11¦10
11KV Fuse links-3 Amps | IN STOCK | 11Kv Expulsion Fuselink - 3A | match fuselink¦11¦3
11KV Fuse links-5 Amps | IN STOCK | 11Kv Expulsion Fuselink - 5A | match fuselink¦11¦5
16Cu/120Al | NEW | bimet¦16cu/120al
16Cu/50Al | IN STOCK | 16Cu/50Al Bimetallic Connector | match bimet¦16cu/50al
25Al/50Al | NEW | bimet¦25al/50al
3-ph Connections | DROP |  | aggregate/label or size-less generic
3-phase Meters 20/80A | NEW
3-phase Meters, 20/80A | NEW
33/0.25,0,0.25, 50kVA. 1-ph. | NEW
33KV Dropout Fuse Gear | IN STOCK | 33Kv Dropout Fusegear - Polymer | match dropout¦33
33KV Fuse links-10 Amps | IN STOCK | 33Kv Expulsion Fuselink - 10A | match fuselink¦33¦10
33KV Fuse links-3 Amps | IN STOCK | 33Kv Expulsion Fuselink - 3A | match fuselink¦33¦3
33KV Fuse links-5 Amps | IN STOCK | 33Kv Expulsion Fuselink - 5A | match fuselink¦33¦5
33KV Pin Insulators c/w Spindle | NEW | pinspindle¦33
33kV Dropout Fuse Gear | IN STOCK | 33Kv Dropout Fusegear - Polymer | match dropout¦33
33kV Fuse links - 3 Amps | IN STOCK | 33Kv Expulsion Fuselink - 3A | match fuselink¦33¦3
33kV Fuse links - 5 Amps | IN STOCK | 33Kv Expulsion Fuselink - 5A | match fuselink¦33¦5
33kV Pin Insulators c/w Spindle | NEW | pinspindle¦33
35sqmm Cu Cable Lugs | IN STOCK | 35Sqmm Cable Lug-Cu | match lug¦35¦cu
60A Single Phase Fuse Unit | NEW | fuseunit¦60¦1
70 sq.mm HD Cu Conductor | NEW
70sq.mm HD Cu.Conductor | NEW
Aluminum Line Tap | DROP |  | aggregate/label or size-less generic
Bolts, Nuts and Washers | DROP |  | aggregate/label or size-less generic
Bolts, Nuts and Washers(M16x220) | IN STOCK | M16 X 220 | bolt spec
Cu Cable Lugs | DROP |  | aggregate/label or size-less generic
Cu. Binding Wire | NEW
Cu. Binding wire | NEW
Cu.Clamps for 35sqmm | NEW
Earth Rod | DROP |  | aggregate/label or size-less generic
Earth rod | DROP |  | aggregate/label or size-less generic
Earth rod complete with clamp | IN STOCK | Earthrod C/W Clamps | match earthrodclamp
LV LINE EQUIPMENT | DROP |  | aggregate/label or size-less generic
LV Poles | DROP |  | aggregate/label or size-less generic
M16x220 Bolts, Nuts and Washer | IN STOCK | M16 X 220 | bolt spec
M16x280 Bolts, Nuts and Washer | IN STOCK | M16 X 280 | bolt spec
M20x280 Bolts, Nuts and Washer | IN STOCK | M20 X280 | bolt spec
M22X40 | IN STOCK | M22 X 40 | bolt spec
M22x40 Bolts, Nuts and Washer | IN STOCK | M22 X 40 | bolt spec
No. of H.T. Poles | DROP |  | aggregate/label or size-less generic
No.of 10/11m HT poles, Steel/(Wood) | DROP |  | aggregate/label or size-less generic
Service cutout | DROP |  | aggregate/label or size-less generic
Services | DROP |  | aggregate/label or size-less generic
Shackle Insulator Straps | IN STOCK | Shackle Insulator Straps c/w Pins | match shacklestrap
Stay Equipment Complete | IN STOCK | Stay Equipment C/W Accessories | match stayequip
Stay Equipment complete | IN STOCK | Stay Equipment C/W Accessories | match stayequip
Stay Insulators | DROP |  | aggregate/label or size-less generic
Stays | DROP |  | aggregate/label or size-less generic
Strain Insulators | DROP |  | aggregate/label or size-less generic
Strut Stay Equipment complete | NEW | strutstay
Won Piece Insulator | IN STOCK | Coachscrew (Won Piece) Insulators | match wonpiece
Won piece insulator | IN STOCK | Coachscrew (Won Piece) Insulators | match wonpiece
Wooden stay block | IN STOCK | Stay Wooden Block | match staywoodblock