## Materials Left Over
MATERIALS LEFT OVER BY MBH PROJECT
Org | Item | Item Description | UOM | On-hand
NSU | 240A-1061 | STAYPREFORM, 5/8" | EA | 2711
NSU | 710A-0015 | CONDUCTOR,120MM2,ALL ALUMINIUM ALLOY,(AAAC),BARE | MTR | 153250
NSU | 403A-1077 | PIPE,PVC,19MM DIA,3M LONG | EA | 1210
NSU | 242A-0014 | CROSSARM,SECTION/TERMINAL,2500 MM LONG X 75MM WIDE X 150MM | EA | 1057
NSU | 253A-0253 | WASHER,SPRING,M4 FOR METER | EA | 40000
NSU | 240A-1063 | STAYBOW | EA | 250
NSU | 661A-0022 | TRANSFORMER,100KVA,34.5/0.433K V,DISTRIBUTION,POLE MOUNTED | EA | 5
NSU | 140A-2002 | POLE, GALVANIZED STEEL, 15M CLASS 3 | EA | 37
NSU | 721A-0176 | CONNECTOR,DEAD END PREFORM FOR 150MM2 CONDUCTOR ,PLAIN | EA | 1523
NSU | 721A-0041 | D-IRON,SINGLE GROOVE | EA | 2053
NSU | 681A-2018 | ABI HANDLE | EA | 30
NSU | 742A-2229 | PIPE, OPERATING, 1.75MTRS LONG | EA | 24
NSU | 742A-2230 | PIPE, OPERATING, 6 MTRS LONG | EA | 25
NSU | 251A-2648 | BOLT,POLE,M16 X 220MM,STEEL,GA LVANISED,C/W NUT & WASHERS | EA | 4120
NSU | 681A-0043 | ISOLATOR,34.5KV. | EA | 95
NSU | 704A-1004 | ARRESTOR,LIGHTNING,36KV RMS,MC OV:29.0 KV RMS | EA | 26
NSU | 240A-2038 | STAY INSULATOR,34.5KV | EA | 55
NSU | 253A-0261 | WASHER,FLAT,SQUARE M16 | EA | 21900
NSU | 240A-2037 | EARTH ROD TOP COVER | EA | 790
NSU | 721A-1047 | CONNECTOR,DEAD END,PREFORM,FOR 50MM2,AL CONDUCTOR,PLAIN | EA | 77994
NSU | 718A-2076 | CABLE,2C X 16 SQMM ,SERVICE | MTR | 141787
NSU | 240A-0062 | COUPLER,EARTH ROD,EXTENSION,14 MM DIA ,COPPER,THREADED | EA | 1800
NSU | 721A-2029 | D-IRON,DOUBLE GROOVE | EA | 18450
NSU | 240A-1064 | STAYROD M16*2500MM | EA | 2459
NSU | 681A-2019 | AIR BREAK SWITCH,33KV 400A | EA | 60
NSU | 240A-0108 | CHANNEI,1630MM LONG X 102MM WI DE X 51MM HEIGHT,FOR AIR BREAK | EA | 188
NSU | 885A-2043 | GALVANISED STEEL POLES 11M CLA SS 3 | EA | 1481
NSU | 721A-0101 | THIMBLE,FOR DEAD END,FOR CABLE 25-100MM2,GALVANISED | EA | 10837
NSU | 240A-0280 | EYE,BALL | EA | 34500
NSU | 253A-0281 | PIN,COTTER,EXTENDED PRONG,1/8" DIA.,2"LONG,ZINC PLATED LOW | PK | 14826
NSU | 240A-0399 | STAY STRAP,STEEL TO BE MILD ST EEL GRADE43A OR EQUIVALENT | EA | 3285
NSU | 718A-0102 | CABLE,COPPER,4X25 MM2,STRANDED PVC INSULATED & SHEATED, 11KV, | MTR | 854
NSU | 242A-0017 | CROSSARM,H-POLE,2840MM LONG X 75MM WIDE X 100MM HEIGHT | EA | 83
NSU | 240A-0338 | U-BOLT,GALVANISED STANDARD STE EL WITH NUTS & WASHERS | EA | 1580
NSU | 240A-2040 | CROSSARM TIE STRAP,TWISTED , 8X250 | EA | 1554
NSU | 769A-0003 | INSULATOR WORN-PIECE SCREW (NE D) | EA | 16000
NSU | 240A-2039 | STAY PLATE | EA | 2870
NSU | 253A-0280 | PIN,COTTER,EXTENDED PRONG,3/32 "DIA.,1"LONG,ZINC PLATED LOW | PK | 1020
NSU | 769A-0002 | INSULATOR, REEL(SHACKLE) ,SINGLE GROOVE | EA | 43902
NSU | 700A-0292 | SURGE ARRESTER,12KV FOR 11KV | EA | 21
NSU | 710A-1011 | CABLE,1X35SQMM CU,PVC INSULATED,0.1KV(BLACK COLOUR). | MTR | 800
NSU | 240A-2028 | PIN,INSULATOR COMPLETE,34.5KV(POLYMERIC) | EA | 1164
NSU | 224A-0006 | WIRE,BARBED,GALVANISED STEEL,2 .5MM DIA. X 30M/ROLL | RL | 247
NSU | 403A-2035 | PIPE,PVC,19MM DIA,2M LONG | EA | 2490
NSU | 240A-1065 | STAY INSULATOR,11.5KV | EA | 295
NSU | 769A-0004 | INSULATOR,REEL (SHACKLE) ,DOUBLE GROOVE | EA | 1560
NSU | 240A-0092 | STRAP,EXTENSION,D-IRON,180MM L ONG X 40MM WIDE X 6MM THICK, | PR | 753
NSU | 251A-0440 | BOLT,POLE,M20 X 300MM,STEEL,GA LVANISED,HEX. HEAD | EA | 5070
NSU | 240A-2036 | STAY DEAD END PREFORMED(STAY WIRE PREFORM) | EA | 3802
NSU | 251A-2649 | BOLT,POLE ,M16 X 300MM,STEEL,GA LVANISED,C/W NUT & WASHERS | EA | 1337
NSU | 718A-0070 | CABLE,COPPER,1X16MM2,PVC , INS ULATED & SHEATED,100YRDS/ROLL | YD | 500
NSU | 710A-0001 | CONDUCTOR,50MM2,ALL ALUMINIUM CONDUCTOR (AAC) 415V, | MTR | 438200
NSU | 681A-0069 | ISOLATOR,AIR BREAK,NOMINAL VOL TAGE:11KV,RATED VOLTAGE:12KV | EA | 35
NSU | 240A-1011 | EARTH RODS FOR PME COMPLETE WITH EARTH ROD GUARDS AND 16SQMM CU/50SQMM AL BIMETALLIC CONNECTOR | SET | 133
|  | Total line items |  | 54
Source: transcribed from scanned PDF 'CamScanner 10-08-2026 10.10.pdf' (2 pages). Text was OCR'd manually from images; verify item codes against the original.