## stock
name | quantity | category | code | unit | warehouse | match | source_description
10M Steel Tubular Pole | 0 | Poles | LHP007 | pcs | Wa Area Store | exact | 10m Steel Tubular Pole
10m Wooden Pole | 47 | Poles | LHP004 | pcs | Wa Area Store | exact | 10m Wooden Pole
9m Wooden Pole | 0 | Poles | LHP003 | pcs | Wa Area Store | exact | 9m Wooden Pole
7m Wood Pole | 232 | Poles | LHP001 | pcs | Wa Area Store | exact | 7m Wooden Poles
8m Wood Pole | 0 | Poles | LHP002 | pcs | Wa Area Store | exact | 8m Wooden Poles
11m Steel Tubular Pole | 0 | Poles | LHP008 | pcs | Wa Area Store | exact | 11M Tubular Steel Pole
33KV Pin Insulator - Polymer | 2453 | Insulators | IPA003 | pcs | Wa Area Store | exact | 33kv Pin Insulators(POLYMERIC)
33KV Pin Insulator- Porcelain | 135 | Insulators | IPA004 | pcs | Wa Area Store | exact | 33kv PIN INSUALTOR (PORCEILAIN)
Binding Stirrup - 33KV | 0 | Insulators | IPA008 | m | Wa Area Store | exact | 33kv Binding stirrup Pairs
Binding Stirrup - 11KV | 0 | Insulators | IPA007 | m | Wa Area Store | exact | 11kv Binding Stirrup Pairs
Binding Wire - Aluminium | 0 | Insulators | IPA006 | m | Wa Area Store | exact | Alu Binding Wire (mtrs)
11KV Angle Iron Crossarm | 0 | Crossarms | CA006 | pcs | Wa Area Store | inferred | 11kv Angle Iron Crossarm
33KV Angle Iron & Arms only | 1475 | Crossarms | CA004 | pcs | Wa Area Store | inferred | 33kv Angle Iron Crossarm
M20 x 40 | 3560 | Bolts, Nuts & Washers | BNW007 | pcs | Wa Area Store | exact | M20 X 40
M20 x280 | 0 | Bolts, Nuts & Washers | BNW009 | pcs | Wa Area Store | exact | M20 X 280
M16 x 280 | 0 | Bolts, Nuts & Washers | BNW005 | pcs | Wa Area Store | exact | M16 & 280
M16 x 220 | 0 | Bolts, Nuts & Washers | BNW002 | pcs | Wa Area Store | exact | M16 & 220
M16 x 260 | 0 | Bolts, Nuts & Washers | BNW004 | pcs | Wa Area Store | inferred | M16 X 260/300
M16 x 300 | 0 | Bolts, Nuts & Washers | BNW006 | pcs | Wa Area Store | exact | M16X300
Clevis Thimble Sets Complete CAB100 incl. 2.5 | 0 | Stay & Support Hardware | SMA007 | set | Wa Area Store | exact | Celvis Thimble Set
Al Clamps for 120sqmm | 0 | Connectors & Clamps | BTC020 | m | Wa Area Store | exact | Alu Clamp for 120sqmm. Cond.
Aluminium Line tap | 2526 | Connectors & Clamps | BTC019 | pcs | Wa Area Store | exact | Alu Line Tap 50/50sqmm.
33/50KVA, 3-ph | 2 | Transformers | DT33/3PH006 | pcs | Wa Area Store | NEW | 33/0.433.50kva 3-ph
33/100KVA, 3-ph | 0 | Transformers | DT33/3PH001 | pcs | Wa Area Store | exact | 33/0/433, 100kva 3-ph
33/200KVA, 3-ph | 0 | Transformers | DT33/3PH002 | pcs | Wa Area Store | exact | 33/0.433, 200kva 3-ph
11/200KVA, 3-ph | 8 | Transformers | DT11/3PH002 | pcs | Wa Area Store | exact | 11/0.433, 200kva 3-ph
11/315KVA, 3-ph | 1 | Transformers | DT11/3PH003 | pcs | Wa Area Store | exact | 11/0.433, 315Kva 3-ph
11/50KVA, 3-ph | 14 | Transformers | DT11/3PH004 | pcs | Wa Area Store | NEW | 11/0.433, 50kva-3-ph
11/100KVA, 3-ph | 14 | Transformers | DT11/3PH001 | pcs | Wa Area Store | exact | 11/0.433, 100kva 3-ph
33/225KVA, 3-ph | 0 | Transformers | DT33/3PH003 | pcs | Wa Area Store | exact | 33/0.415 ,225KVA
20/50KVA, 1-ph Shield Wire | 0 | Transformers | DT20/1PH001 | pcs | Wa Area Store | NEW | 20/0.25, 50kva 1-ph Shield Wire
120sqmm HD ALU Conductor | 35500 | Cables & Conductors | CCA016 | m | Wa Area Store | exact | 120sqmm HD Alu Cond. (mtrs.)
50sqmm HD ALU Conductor | 0 | Cables & Conductors | CCA017 | m | Wa Area Store | exact | 50sqmm HD Alu Cond. (mtrs.)
70sqmm PVC Cu Conductor | 0 | Cables & Conductors | CCA021 | m | Wa Area Store | NEW | 70sqmm PVC Cu Cond. (mtrs)
25sqmm PVC Insulated Cable-Alu | 137768 | Cables & Conductors | CCA006 | m | Wa Area Store | exact | 25sqmm pvc conductor
11KV Load isolator c/w Acc - Polymer | 0 | Switchgear & Protection | SE002 | pcs | Wa Area Store | inferred | 11kv Load Isolators
33KV Dropout Fusegear - Polymer | 1380 | Switchgear & Protection | SE013 | pcs | Wa Area Store | inferred | 33kv Dropout Fuse Gear
33KV Expulsion Fuselink - 5A | 0 | Switchgear & Protection | SE018 | pcs | Wa Area Store | exact | 33kv Fuse Link 5 Amp
33KV Expulsion Fuselink - 3A | 0 | Switchgear & Protection | SE017 | pcs | Wa Area Store | exact | 33kv Fuse 3 Amp
11KV Dropout Fusegear - Polymer | 295 | Switchgear & Protection | SE008 | pcs | Wa Area Store | inferred | 11kv Dropout Fuse Gear
11KV Expulsion Fuselink - 5A | 0 | Switchgear & Protection | SE021 | pcs | Wa Area Store | exact | 11kv Fuse Link 5 Amp
11KV Expulsion Fuselink - 3A | 0 | Switchgear & Protection | SE022 | pcs | Wa Area Store | exact | 11kv Fuse Link 3 Amp
33KV Surge Arrester - Polymer | 464 | Switchgear & Protection | SE015 | pcs | Wa Area Store | inferred | 33kv Surge Divertor
11Kv Surge Divertor | 264 | Switchgear & Protection | SE026 | pcs | Wa Area Store | exact | 11kv Surge Divertor
Channel Iron Crossarm | 165 | Crossarms | CA005 | pcs | Wa Area Store | exact | Channel Iron 33kv
Transformer Mounting Bracket | 0 | Switchgear & Protection | SE027 | pcs | Wa Area Store | NEW | Transformer Bracket
LV Aerial Fuse Unit-Pole Mounted | 430 | LV Fuse Equipment | LFU001 | pcs | Wa Area Store | exact | Pole Mounted L.V Fuse Unit (MPC400)
LV Fuse - 300 Amps | 0 | LV Fuse Equipment | LFU010 | pcs | Wa Area Store | exact | LV Fuse 300 Amp
LV Fuse - 200 Amps | 0 | LV Fuse Equipment | LFU009 | pcs | Wa Area Store | exact | LV Fuse 200 Amp
LV Fuse - 100 Amps | 0 | LV Fuse Equipment | LFU008 | pcs | Wa Area Store | exact | LV Fuse 100 Amp
Earthrod c/w Clamps | 680 | Earthing & Grounding | EM001 | pcs | Wa Area Store | exact | Earth Rod Complete
70sqmm Cable Lug-Cu | 0 | Connectors & Clamps | BTC014 | pcs | Wa Area Store | exact | Copper Lug for 70sqmm
Earth Guard PVC Conductor | 0 | Cables & Conductors | CCA022 | m | Wa Area Store | NEW | Earth Guard PCV Cond. (mtrs)
35sqmm PVC Cu Conductor | 0 | Cables & Conductors | CCA10 | m | Wa Area Store | exact | 35sqmm PVC Cu Cond, (mtrs)
16sqmm PVC Cu Conductor | 0 | Cables & Conductors | CCA004 | m | Wa Area Store | inferred | 16sqmm PVC Cu Cond. (mtrs)
35sqmm HD Bare Stranded Conductor-Cu | 0 | Cables & Conductors | CCA007 | m | Wa Area Store | exact | 35sqmm bare cu Cond. (mtrs)
Shackle Insulators | 2590 | Service Connection Materials | SCM001 | pcs | Wa Area Store | exact | Shackle Insulators
D-Bracket Complete | 0 | Service Connection Materials | SCM004 | set | Wa Area Store | exact | D-Iron Bracket Complete
Stay Bow & Crosshead | 280 | Stay & Support Hardware | SMA011 | pcs | Wa Area Store | exact | STAY BOW
33KV Strain Insulators (Polymer) | 1289 | Insulators | IPA014 | pcs | Wa Area Store | inferred | COMPOSITE SUSPENSION (STRAIN INSULATOR POLYMERIC)
Guy Grip (Preform) 50sqmm | 0 | Stay & Support Hardware | SMA004 | m | Wa Area Store | inferred | Guy Grip
Stay Wire | 526500 | Stay & Support Hardware | SMA015 | m | Wa Area Store | exact | Stay Wire (mtrs)
Stay Rod | 2120 | Stay & Support Hardware | SMA013 | pcs | Wa Area Store | exact | STAY ROD
Stay Thimble | 1620 | Stay & Support Hardware | SMA016 | pcs | Wa Area Store | NEW | STAY THIMBLE
Stay Pole Bracket | 1230 | Stay & Support Hardware | SMA012 | pcs | Wa Area Store | inferred | STAY TOP BRACKET
Stay Base Plate | 950 | Stay & Support Hardware | SMA010 | pcs | Wa Area Store | exact | STAY PLATE
LV Stay Insulator | 0 | Stay & Support Hardware | SMA001 | pcs | Wa Area Store | exact | LV Stay Insulators
Wooden stay block | 0 | Poles | LHP009 | pcs | Wa Area Store | exact | Stay Wooden Block
16Cu/120Al Bimetallic Connector | 22502 | Connectors & Clamps | BTC027 | pcs | Wa Area Store | NEW | 16cu/120 Alu Bimetallic
Coachscrew (Won Piece) Insulators | 287906 | Service Connection Materials | SCM003 | pcs | Wa Area Store | exact | Won Piece Insulators
10sqmm PVC Cu Conductor | 0 | Cables & Conductors | CCA023 | pcs | Wa Area Store | NEW | 10sqmm PVC Cu Conductor (mtrs)
Service Cut-Out c/w Fuse - 60A | 0 | Service Connection Materials | SCM007 | set | Wa Area Store | exact | 60Amp Service Cutout 1-ph Comp.
Service Cut-Out c/w Fuse - 30A | 4551 | Service Connection Materials | SCM006 | pcs | Wa Area Store | exact | 30Amp Service Cutout 1-ph Comp.
5/25Amps | 3916 | Metering Equipment | EMSP001 | pcs | Wa Area Store | exact | 5/25 Amp Energy Meters 1-ph
20/80Amps 3-PH Meters | 480 | Metering Equipment | EMTP001 | pcs | Wa Area Store | exact | 20/80 Amp Energy Meters 3-ph