## stock
name | quantity | category | code | unit | warehouse | match | source_description
10M Steel Tubular Pole | 3 | Poles | LHP007 | pcs | Bolgatanga Area Store | exact | 10M STEEL TUBULAR POLE
10 Meter Concrete Pole | 39 | Poles | LHP010 | pcs | Bolgatanga Area Store | inferred | 10M HT POLES
11m Steel Tubular Pole | 7 | Poles | LHP008 | pcs | Bolgatanga Area Store | exact | 11M STEEL TUBULAR POLE
7m Wood Pole | 0 | Poles | LHP001 | pcs | Bolgatanga Area Store | inferred | 7M SERVICE POLE
Wooden stay block | 1444 | Poles | LHP009 | pcs | Bolgatanga Area Store | exact | WOODEN STAY BLOCK
11KV Angle Iron Crossarm | 639 | Crossarms | CA006 | pcs | Bolgatanga Area Store | inferred | 11KV ANGLE IRON CROSSARM
11KV Dropout Fusegear - Polymer | 1044 | Switchgear & Protection | SE008 | pcs | Bolgatanga Area Store | inferred | 11KV DROP-OUT FUSE GEAR
33KV Angle Iron Crosssarm c/w tie Straps | 74 | Crossarms | CA001 | pcs | Bolgatanga Area Store | inferred | 33KV ANGLE IRON STRAPS
33KV Angle Iron & Arms only | 3674 | Crossarms | CA004 | pcs | Bolgatanga Area Store | inferred | 33KV ANGLE IRON CROSSARM
33KV Pin Insulator c/w Spindle | 16266 | Insulators | IPA005 | pcs | Bolgatanga Area Store | exact | 33KV PIN INSULATOR C/W SPINDLE
Channel Iron Crossarm | 1452 | Crossarms | CA005 | pcs | Bolgatanga Area Store | exact | 33KV CHANNEL IRON CROSSARM
33KV Surge Arrester - Polymer | 258 | Switchgear & Protection | SE015 | pcs | Bolgatanga Area Store | inferred | 33KV SURGE DIVERTOR/ARRESTOR
11Kv Surge Divertor | 114 | Switchgear & Protection | SE026 | pcs | Bolgatanga Area Store | exact | 11KV SURGE DIVERTOR/ARRESTOR
Binding Stirrup - 11KV | 6984 | Insulators | IPA007 | pair | Bolgatanga Area Store | exact | 11KV BINDING STIRRUP
11KV Pin Insulator c/w Spindle - Porcelain | 1408 | Insulators | IPA001 | pcs | Bolgatanga Area Store | inferred | 11KV PIN INSULATOR
Stay Thimble | 15593 | Stay & Support Hardware | SMA016 | pcs | Bolgatanga Area Store | NEW | STAY THIMBLE
Strut Stay Equipment Complete | 520 | Stay & Support Hardware | SMS002 | set | Bolgatanga Area Store | exact | STRUT STAY EQUIPMENT COMPLT
120sqmm HD ALU Conductor | 0 | Cables & Conductors | CCA016 | m | Bolgatanga Area Store | exact | 120sqmm HD ALU CONDUCTOR
50sqmm HD ALU Conductor | 0 | Cables & Conductors | CCA017 | m | Bolgatanga Area Store | exact | 50sqmm HD ALU CONDUCTOR
25sqmm PVC Insulated Cable-Alu | 0 | Cables & Conductors | CCA006 | m | Bolgatanga Area Store | exact | 25Sqmm pvc Al Conductor
35sqmm PVC Insulated Cable-Cu | 0 | Cables & Conductors | CCA009 | m | Bolgatanga Area Store | exact | 35sqmm CU PVC INSULATED
16sqmm PVC Cu Conductor | 5941 | Cables & Conductors | CCA004 | m | Bolgatanga Area Store | inferred | 16SQMM PVC CU CONDUCTOR
Stay Wire | 754661 | Stay & Support Hardware | SMA015 | m | Bolgatanga Area Store | exact | STAY WIRE
Binding Stirrup - 33KV | 3521 | Insulators | IPA008 | pair | Bolgatanga Area Store | exact | 33KV BINDING STIRRUP
M22 x 40 | 49309 | Bolts, Nuts & Washers | BNW010 | pcs | Bolgatanga Area Store | exact | M22 X 40 BOLTS $ NUTS
M16 x 240 | 2655 | Bolts, Nuts & Washers | BNW003 | pcs | Bolgatanga Area Store | exact | M16 X 240 BOLTS $ NUTS
M16 x 40 | 4551 | Bolts, Nuts & Washers | BNW001 | pcs | Bolgatanga Area Store | exact | M16 X40 BOLTS AND NUTS
M20 x 40 | 8412 | Bolts, Nuts & Washers | BNW007 | pcs | Bolgatanga Area Store | exact | M20 X 40 BOLTS $ NUTS
M16 x 220 | 0 | Bolts, Nuts & Washers | BNW002 | pcs | Bolgatanga Area Store | exact | M16 X 220 BOLTS $ NUTS
M16 Curved Square Washer | 64720 | Bolts, Nuts & Washers | BNW016 | pcs | Bolgatanga Area Store | NEW | M16 CURVED SQUARE WASHERS
M20 Curved Square Washer | 217 | Bolts, Nuts & Washers | BNW017 | pcs | Bolgatanga Area Store | NEW | M20 CURVED SQUARE WASHERS
M20 x280 | 27339 | Bolts, Nuts & Washers | BNW009 | pcs | Bolgatanga Area Store | exact | M20 X 280mm BOLTS, NUTS $ WASH
Stay Pole Bracket | 12899 | Stay & Support Hardware | SMA012 | pcs | Bolgatanga Area Store | exact | STAY POLE BRACKET
Stay Bow & Crosshead | 8377 | Stay & Support Hardware | SMA011 | pcs | Bolgatanga Area Store | exact | STAY BOW AND CROSSHEAD
Stay Rod | 6760 | Stay & Support Hardware | SMA013 | pcs | Bolgatanga Area Store | exact | STAY ROD
Stay Base Plate | 7354 | Stay & Support Hardware | SMA010 | pcs | Bolgatanga Area Store | exact | STAY BASE PLATE
Tension Clamps | 1848 | Earthing & Grounding | EM003 | pcs | Bolgatanga Area Store | inferred | STRAIN CLAMPS
LV Stay Insulator | 26232 | Stay & Support Hardware | SMA001 | pcs | Bolgatanga Area Store | exact | STAY INSULATOR 11KV (LV)
HT Stay Insulator | 144 | Stay & Support Hardware | SMA002 | pcs | Bolgatanga Area Store | exact | STAY INSULATOR 33KV (HT)
Sectional Straps | 2029 | Stay & Support Hardware | SMA009 | pcs | Bolgatanga Area Store | exact | SECTIONAL STRAPS
Service Cut-Out c/w Fuse - 30A | 30321 | Service Connection Materials | SCM006 | pcs | Bolgatanga Area Store | exact | SERVICE CUT-OUT 30A
LV Fuse - 63 Amps | 451 | LV Fuse Equipment | LFU012 | pcs | Bolgatanga Area Store | exact | LV FUSE 63A
11KV Expulsion Fuselink - 2.5A | 335 | Switchgear & Protection | SE023 | pcs | Bolgatanga Area Store | exact | 11KV FUSE LINK 2.5A
LV Fuse - 315 Amps | 240 | LV Fuse Equipment | LFU014 | pcs | Bolgatanga Area Store | NEW | LV FUSE 315A
LV Fuse - 100 Amps | 287 | LV Fuse Equipment | LFU008 | pcs | Bolgatanga Area Store | exact | LV FUSE 100A
LV Aerial Fuse Unit-Pole Mounted | 294 | LV Fuse Equipment | LFU001 | pcs | Bolgatanga Area Store | exact | POLE MOUNTED LV FUSE UNIT MPC400
LV Fuse - 200 Amps | 258 | LV Fuse Equipment | LFU009 | pcs | Bolgatanga Area Store | exact | LV FUSE 200A
11KV Expulsion Fuselink - 5A | 271 | Switchgear & Protection | SE021 | pcs | Bolgatanga Area Store | exact | 11KV FUSE LINK 5A
35sqmm Cable Lug-Cu | 0 | Connectors & Clamps | BTC013 | pcs | Bolgatanga Area Store | exact | 35MM SQ CU CABLE LUGS
Clevis Thimble Sets Complete CAB100 incl. 2.5 | 920 | Stay & Support Hardware | SMA007 | pcs | Bolgatanga Area Store | exact | CLEVIS THIMBLE
Shackle Insulators | 0 | Service Connection Materials | SCM001 | pcs | Bolgatanga Area Store | exact | SHACKLES INSULATOR
Safety Switch 600A | 10 | Switchgear & Protection | SE028 | pcs | Bolgatanga Area Store | NEW | SAFETY SWITCH 600A
Guy Grip (Preform) 50sqmm | 3600 | Stay & Support Hardware | SMA004 | pcs | Bolgatanga Area Store | inferred | STAY GUY GRIP (PREFORM)
Earthrod c/w Clamps | 9354 | Earthing & Grounding | EM001 | pcs | Bolgatanga Area Store | inferred | EARTH ROD ONLY
Earthrod Clamps | 2468 | Earthing & Grounding | EM002 | pcs | Bolgatanga Area Store | exact | EARTH ROD CLAMP
D-Bracket Complete | 0 | Service Connection Materials | SCM004 | pcs | Bolgatanga Area Store | exact | D-IRON/D-BRACKET C/w PIN
16Cu/50AL Bimetallic Connector | 120666 | Connectors & Clamps | BTC010 | pcs | Bolgatanga Area Store | inferred | BIMETALIC CONNECTOR
Al Clamps for 120sqmm | 31545 | Connectors & Clamps | BTC020 | pcs | Bolgatanga Area Store | exact | AL. CLAMP FOR 120Sqmm PG
Clevis Socket Tongue | 920 | Stay & Support Hardware | SMA017 | pcs | Bolgatanga Area Store | NEW | CLEVIS SOCKET TONGUE
Ball Hooks | 920 | Stay & Support Hardware | SMA008 | pcs | Bolgatanga Area Store | exact | CLEVIS BALL HOOK
Aluminium Line tap | 0 | Connectors & Clamps | BTC019 | pcs | Bolgatanga Area Store | exact | ALU LINE TAP
Coachscrew (Won Piece) Insulators | 153331 | Service Connection Materials | SCM003 | pcs | Bolgatanga Area Store | exact | WON PINS/COACH SCREWS
Dead End Preformed | 64040 | Stay & Support Hardware | SMA018 | m | Bolgatanga Area Store | NEW | DEAD END PREFORMED
Three Phase | 1307 | Metering Equipment | CM002 | pcs | Bolgatanga Area Store | exact | 3-PHASE CREDIT METER
Single Phase | 6087 | Metering Equipment | CM001 | pcs | Bolgatanga Area Store | exact | 1-PHASE CREDIT METER
11/200KVA, 3-ph | 0 | Transformers | DT11/3PH002 | pcs | Bolgatanga Area Store | inferred | 11.5/0.433, 200KVA TRANSFORMER
11/100KVA, 3-ph | 0 | Transformers | DT11/3PH001 | pcs | Bolgatanga Area Store | inferred | 11.5/0.433, 100KVA TRANSFORMER
33/100KVA, 3-ph | 0 | Transformers | DT33/3PH001 | pcs | Bolgatanga Area Store | inferred | 33.5/0.433, 100KVA TRANSFORMER
33/200KVA, 3-ph | 0 | Transformers | DT33/3PH002 | pcs | Bolgatanga Area Store | inferred | 33.5/0.433, 200KVA TRANSFORMER
11/50KVA, 3-ph | 0 | Transformers | DT11/3PH004 | pcs | Bolgatanga Area Store | NEW | 11.5/0.433, 50KVA TRANSFORMER
33/50KVA, 3-ph | 0 | Transformers | DT33/3PH006 | pcs | Bolgatanga Area Store | NEW | 33.5/0.433, 50KVA TRANSFORMER