## stock
name | quantity | category | code | unit | warehouse | match | source_description
1ph 4wire Credit meter | 2955 | Metering Equipment | EMSP007 | pcs | Sunyani Area Store | inferred | ENERGY METERS SINGLE PHASE
3ph 4wire Credit Meter | 1274 | Metering Equipment | EMTP003 | pcs | Sunyani Area Store | inferred | ENERGY METERS THREE PHASE
33KV Surge Arrester - Polymer | 324 | Switchgear & Protection | SE015 | pcs | Sunyani Area Store | inferred | SURGE DIVERTOR 33KV
11Kv Surge Divertor | 93 | Switchgear & Protection | SE026 | pcs | Sunyani Area Store | exact | SURGE DIVERTOR 11KV
Earthrod c/w Clamps | 5037 | Earthing & Grounding | EM001 | pcs | Sunyani Area Store | inferred | EARTH RODS
LV Aerial Fuse Unit-Pole Mounted | 80 | LV Fuse Equipment | LFU001 | pcs | Sunyani Area Store | exact | POLE MOUNTED L.V FUSE UNIT (PC400)
4x50sqmm Underground Cable-Alu | 78 | Cables & Conductors | CCA024 | pcs | Sunyani Area Store | NEW | U/G (4X50MM2)
LV Fuse - 100 Amps | 78 | LV Fuse Equipment | LFU008 | pcs | Sunyani Area Store | exact | LV FUSE 100A
Stay Thimble | 735 | Stay & Support Hardware | SMA016 | pcs | Sunyani Area Store | NEW | STAY THMBLE
Stay Pole Bracket | 124 | Stay & Support Hardware | SMA012 | pcs | Sunyani Area Store | exact | STAY POLE BRACKET
Stay Base Plate | 910 | Stay & Support Hardware | SMA010 | pcs | Sunyani Area Store | exact | STAY PLATE
LV Stay Insulator | 6377 | Stay & Support Hardware | SMA001 | pcs | Sunyani Area Store | exact | STAY INSULATOR 11KV
HT Stay Insulator | 565 | Stay & Support Hardware | SMA002 | pcs | Sunyani Area Store | exact | STAY INSULATOR 33KV
Stay Wire | 387500 | Stay & Support Hardware | SMA015 | pcs | Sunyani Area Store | exact | STAY WIRE
11/50KVA, 3-ph | 2 | Transformers | DT11/3PH004 | pcs | Sunyani Area Store | NEW | 50KVA TRANSFORMER 11.5/0.433KV
33/100KVA, 3-ph | 1 | Transformers | DT33/3PH001 | pcs | Sunyani Area Store | inferred | 100KVA 33/0.433 TRANSFORMER
33/50KVA, 3-ph | 19 | Transformers | DT33/3PH006 | pcs | Sunyani Area Store | inferred | 50KVA TRANFORMER (SHAKTHI)
Coachscrew (Won Piece) Insulators | 135825 | Service Connection Materials | SCM003 | pcs | Sunyani Area Store | exact | WON PIECE INSULATOR
D-Iron Bracket Extension | 102018 | Service Connection Materials | SCM005 | pcs | Sunyani Area Store | exact | D-IRON EXTENSION
D-Iron Bracket Extension Pin | 2000 | Service Connection Materials | SCM014 | pcs | Sunyani Area Store | NEW | D-IRON EXTENSION PINS
Shackle Insulators | 165 | Service Connection Materials | SCM001 | pcs | Sunyani Area Store | inferred | SHACKLE
LV Fuse - 200 Amps | 24 | LV Fuse Equipment | LFU009 | pcs | Sunyani Area Store | exact | LV FUSE 200A
M20 x 40 | 67333 | Bolts, Nuts & Washers | BNW007 | pcs | Sunyani Area Store | exact | BOLTS AND NUTS (M20 X 40)
M20 x280 | 64766 | Bolts, Nuts & Washers | BNW009 | pcs | Sunyani Area Store | exact | BOLTS AND NUTS (M20 X 280)
11KV Pin Insulator c/w Spindle - Porcelain | 7009 | Insulators | IPA001 | pcs | Sunyani Area Store | inferred | 11KV PIN INSULATORS
33KV Angle Iron & Arms only | 11720 | Crossarms | CA004 | pcs | Sunyani Area Store | inferred | 33KV ANGLE IRON
11KV Angle Iron Crossarm | 4100 | Crossarms | CA006 | pcs | Sunyani Area Store | inferred | 11KV ANGLE IRON
Sectional Straps | 20082 | Stay & Support Hardware | SMA009 | pcs | Sunyani Area Store | exact | SECTIONAL STRAINS (STRAPS)
Tension Clamps | 381 | Earthing & Grounding | EM003 | pcs | Sunyani Area Store | inferred | STRAIN CLAMPS FOR 120MM2
Clevis Socket Tongue | 440 | Stay & Support Hardware | SMA017 | pcs | Sunyani Area Store | NEW | SOCKET TONGUE
Ball Hooks | 426 | Stay & Support Hardware | SMA008 | pcs | Sunyani Area Store | inferred | BALL ENDED
PVC Pipe | 599 | Cables & Conductors | CCA025 | pcs | Sunyani Area Store | NEW | PVC PIPES
Al Clamps for 120sqmm | 186 | Connectors & Clamps | BTC020 | pcs | Sunyani Area Store | exact | AL CLAMPS FOR 120MM2
25sqmm PVC Insulated Cable-Alu | 427235 | Cables & Conductors | CCA006 | pcs | Sunyani Area Store | exact | 25MM2 PVC AL. CONDUCTOR
Stay Equipment c/w Accessories | 14800 | Stay & Support Hardware | SMS001 | pcs | Sunyani Area Store | exact | STAY EQUIPMENT COMPLETE (SET)