## Template
name | quantity | category | code | unit | warehouse
Stay Wire | 1077295 | Stay & Support Hardware | SMA015 | m | Tema Central Warehouse
Stay Equipment C/W Accessories | 138159 | Stay & Support Hardware | SMS001 | set | Tema Central Warehouse
LV Stay Insulator | 112622 | Stay & Support Hardware | SMA001 | pcs | Tema Central Warehouse
HT Stay Insulator | 9407 | Stay & Support Hardware | SMA002 | pcs | Tema Central Warehouse
Guy Grip (Preform) 50Sqmm | 25457 | Stay & Support Hardware | SMA004 | pcs | Tema Central Warehouse
Guy Grip (Preform) 120Sqmm | 750 | Stay & Support Hardware | SMA005 | pcs | Tema Central Warehouse
Clevis Thimble Sets Complete CAB100 incl. 2.5 | 49519 | Stay & Support Hardware | SMA007 | pcs | Tema Central Warehouse
11Kv Pin Insulator - Porcelain | -106 | Insulators | IPA001 | pcs | Tema Central Warehouse
11Kv Strain Insulator - Polymer | 1929 | Insulators | IPA002 | pcs | Tema Central Warehouse
33Kv Pin Insulator - Polymer | 34417 | Insulators | IPA003 | pcs | Tema Central Warehouse
Al. Binding Wire | 104277 | Insulators | IPA006 | m | Tema Central Warehouse
11kv Binding Stirrup | 665 | Insulators | IPA007 | pair | Tema Central Warehouse
33KV Binding Stirrup | -51 | Insulators | IPA008 | pair | Tema Central Warehouse
Fitting For Strain - 33Kv | 77 | Insulators | IPA009 | set | Tema Central Warehouse
11Kv Pin Insulator - Polymer | 13136 | Insulators | IPA010 | Pcs | Tema Central Warehouse
11KV Pin Insulator c/w Spindle | 7402 | Insulators | IPA012 | Pcs | Tema Central Warehouse
M16 X 40 | 3000 | Bolts, Nuts & Washers | BNW001 | pcs | Tema Central Warehouse
M16 X 220 | -5999 | Bolts, Nuts & Washers | BNW002 | pcs | Tema Central Warehouse
M16 X 240 | 0 | Bolts, Nuts & Washers | BNW003 | pcs | Tema Central Warehouse
M16 X 260 | 0 | Bolts, Nuts & Washers | BNW004 | pcs | Tema Central Warehouse
M16 X 280 | -729 | Bolts, Nuts & Washers | BNW005 | pcs | Tema Central Warehouse
M20 X 40 | 12290 | Bolts, Nuts & Washers | BNW007 | pcs | Tema Central Warehouse
M20 X 260 | -121 | Bolts, Nuts & Washers | BNW008 | pcs | Tema Central Warehouse
M20 X280 | 67238 | Bolts, Nuts & Washers | BNW009 | pcs | Tema Central Warehouse
M22 X 40 | 4318 | Bolts, Nuts & Washers | BNW010 | pcs | Tema Central Warehouse
M22 X 240 | -161 | Bolts, Nuts & Washers | BNW011 | pcs | Tema Central Warehouse
M20 X 240 | -496 | Bolts, Nuts & Washers | BNW012 | pcs | Tema Central Warehouse
M22 X 280 | 0 | Bolts, Nuts & Washers | BNW013 | pcs | Tema Central Warehouse
M20 X 220 | 0 | Bolts, Nuts & Washers | BNW014 | pcs | Tema Central Warehouse
7M Wooden Pole | 0 | Poles | LHP001 | pcs | Tema Central Warehouse
8M Wooden Pole | 77 | Poles | LHP002 | pcs | Tema Central Warehouse
9M Wooden Pole | 587 | Poles | LHP003 | pcs | Tema Central Warehouse
11M Wooden Pole | 0 | Poles | LHP005 | pcs | Tema Central Warehouse
12M Wood Pole | 236 | Poles | LHP006 | pcs | Tema Central Warehouse
10M Steel Tubular Pole | 15319 | Poles | LHP007 | pcs | Tema Central Warehouse
11M Steel Tubular Pole | 0 | Poles | LHP008 | pcs | Tema Central Warehouse
Stay Wooden Block | 197 | Poles | LHP009 | pcs | Tema Central Warehouse
10 Meter Concrete Pole | 0 | Poles | LHP010 | pcs | Tema Central Warehouse
11 Meter Concrete Pole | 0 | Poles | LHPC011 | pcs | Tema Central Warehouse
HT Concrete Pole Accessories | -172 | Poles | LHPC/A001 | pcs | Tema Central Warehouse
LV Concrete Pole Accessories | 10722 | Poles | LHPC/A002 | pcs | Tema Central Warehouse
33KV Angle Iron Crossarm c/w Straps | 31908 | Crossarms | CA001 | pcs | Tema Central Warehouse
11KV Angle Iron Crossarm c/w Straps | -224 | Crossarms | CA002 | pcs | Tema Central Warehouse
Channel Iron Crossarm | 10529 | Crossarms | CA003 | pcs | Tema Central Warehouse
50Al/25Al Bimetallic Connector | 0 | Connectors & Clamps | BTC001 | pcs | Tema Central Warehouse
50Al/16Al Bimetallic Connector | 0 | Connectors & Clamps | BTC002 | pcs | Tema Central Warehouse
120Al/16Al Bimetallic Connector | 0 | Connectors & Clamps | BTC003 | pcs | Tema Central Warehouse
50Al/25Al Pg Clamps | 0 | Connectors & Clamps | BTC004 | pcs | Tema Central Warehouse
120Al/120Al PG Clamps | 0 | Connectors & Clamps | BTC005 | pcs | Tema Central Warehouse
50Al/25Al Piercing Connectors | 9600 | Connectors & Clamps | BTC006 | pcs | Tema Central Warehouse
50Al/50Al Piercing Connectors | 0 | Connectors & Clamps | BTC007 | pcs | Tema Central Warehouse
50Al/50Al PG Clamps | 0 | Connectors & Clamps | BTC008 | pcs | Tema Central Warehouse
25A/50Al Bimetallic Connector | -2513 | Connectors & Clamps | BTC009 | pcs | Tema Central Warehouse
16Cu/50Al Bimetallic Connector | 487909 | Connectors & Clamps | BTC010 | pcs | Tema Central Warehouse
35Cu/50Al Bimetallic Connector | 12441 | Connectors & Clamps | BTC011 | pcs | Tema Central Warehouse
70Cu/120Al Bimetallic Connector | 0 | Connectors & Clamps | BTC012 | pcs | Tema Central Warehouse
35Sqmm Cable Lug-Cu | 49258 | Connectors & Clamps | BTC013 | pcs | Tema Central Warehouse
70Sqmm Cable Lug-Cu | 7672 | Connectors & Clamps | BTC014 | pcs | Tema Central Warehouse
120Sqmm Cable Lug-Cu | 0 | Connectors & Clamps | BTC015 | pcs | Tema Central Warehouse
25 Cu/50Al Bimetallic Connector | 0 | Connectors & Clamps | BTC016 | pcs | Tema Central Warehouse
10 Cu/120 Al Bimetallic Connector | 0 | Connectors & Clamps | BTC017 | pcs | Tema Central Warehouse
Bimetallic Line Tap | -1593 | Connectors & Clamps | BTC018 | pcs | Tema Central Warehouse
120 Alu Line Tap | 164 | Connectors & Clamps | BTC019 | pcs | Tema Central Warehouse
Al Clamps for 120sqmm | -275 | Connectors & Clamps | BTC020 | pcs | Tema Central Warehouse
11/0.433, 50KVA. 3-ph | 61 | Transformers | DT11/3PH001 | pcs | Tema Central Warehouse
33/0.433, 50KVA. 3-ph | 16 | Transformers | DT33/3PH002 | pcs | Tema Central Warehouse
11/0.433, 100KVA. 3-ph | 50 | Transformers | DT11/3PH003 | pcs | Tema Central Warehouse
33/0.433, 100KVA. 3-ph | 12 | Transformers | DT33/3PH004 | pcs | Tema Central Warehouse
11/0.433, 200KVA. 3-ph | 64 | Transformers | DT11/3PH005 | pcs | Tema Central Warehouse
33/0.433, 200KVA. 3-ph | -10 | Transformers | DT33/3PH006 | pcs | Tema Central Warehouse
33/225KVA, 3-ph | 0 | Transformers | DT33/3PH007 | pcs | Tema Central Warehouse
11/0.433, 315KVA. 3-ph | 89 | Transformers | DT11/3PH008 | pcs | Tema Central Warehouse
33/0.433, 315KVA. 3-ph | 57 | Transformers | DT33/1PH009 | pcs | Tema Central Warehouse
11/75KVA, 1-ph | 0 | Transformers | DT11/1PH010 | pcs | Tema Central Warehouse
33/275KVA, 3-ph | 0 | Transformers | DT33/3PH011 | pcs | Tema Central Warehouse
11/25KVA, 1-ph | 0 | Transformers | DT11/1PH012 | pcs | Tema Central Warehouse
33/15KVA, 1-ph | 0 | Transformers | DT33/1PH013 | pcs | Tema Central Warehouse
33/25KVA, 1-ph | 0 | Transformers | DT33/1PH014 | pcs | Tema Central Warehouse
33/37.5Kva, 1-ph | 0 | Transformers | DT33/1PH015 | pcs | Tema Central Warehouse
11/37.5KVA, 1-ph | 0 | Transformers | DT11/1PH016 | pcs | Tema Central Warehouse
11Kv Auto Circuit Recloser | 0 | Switchgear & Protection | SE006 | set | Tema Central Warehouse
33Kv Auto Circuit Recloser | 0 | Switchgear & Protection | SE007 | set | Tema Central Warehouse
11Kv Dropout Fusegear - Polymer | -19 | Switchgear & Protection | SE008 | set | Tema Central Warehouse
11Kv Dropout Fusegear - Porcelain | 0 | Switchgear & Protection | SE009 | pcs | Tema Central Warehouse
11Kv Surge Arrester - Porcelain | 0 | Switchgear & Protection | SE010 | pcs | Tema Central Warehouse
11Kv Surge Arrester - Polymer | 0 | Switchgear & Protection | SE011 | pcs | Tema Central Warehouse
33Kv Dropout Fusegear - Porcelain | 3668 | Switchgear & Protection | SE012 | pcs | Tema Central Warehouse
33Kv Dropout Fusegear - Polymer | 37 | Switchgear & Protection | SE013 | pcs | Tema Central Warehouse
33Kv Surge Arrester - Porcelain | 0 | Switchgear & Protection | SE014 | pcs | Tema Central Warehouse
33Kv Surge Arrester - Polymer | 0 | Switchgear & Protection | SE015 | pcs | Tema Central Warehouse
11Kv Expulsion Fuselink - 10A | 2966 | Switchgear & Protection | SE016 | pcs | Tema Central Warehouse
33Kv Expulsion Fuselink - 3A | 433 | Switchgear & Protection | SE017 | pcs | Tema Central Warehouse
33Kv Expulsion Fuselink - 5A | 4671 | Switchgear & Protection | SE018 | pcs | Tema Central Warehouse
33Kv Expulsion Fuselink - 10A | 0 | Switchgear & Protection | SE019 | pcs | Tema Central Warehouse
11Kv Expulsion Fuselink - 6A | 0 | Switchgear & Protection | SE020 | pcs | Tema Central Warehouse
11Kv Expulsion Fuselink - 5A | 305 | Switchgear & Protection | SE021 | pcs | Tema Central Warehouse
11Kv Expulsion Fuselink - 3A | 0 | Switchgear & Protection | SE022 | pcs | Tema Central Warehouse
11Kv Expulsion Fuselink - 2.5A | 3047 | Switchgear & Protection | SE023 | pcs | Tema Central Warehouse
33KV Load Isolators c/w Steelworks | 557 | Switchgear & Protection | SE024 | Pcs | Tema Central Warehouse
11Kv Load Isolators c/w Steelworks | 1073 | Switchgear & Protection | SE025 | Pcs | Tema Central Warehouse
11Kv Surge Divertor | 843 | Switchgear & Protection | SE026 | Pcs | Tema Central Warehouse
33Kv Surge Divertor | -594 | Switchgear & Protection | SE027 | Pcs | Tema Central Warehouse
Pole-Mounted LV Fuse Unit | 1732 | LV Fuse Equipment | LFU001 | pcs | Tema Central Warehouse
LV Fuselink -60 Amps | 597 | LV Fuse Equipment | LFU003 | pcs | Tema Central Warehouse
Lv Fuselink-63 Amps | -6 | LV Fuse Equipment | LFU004 | pcs | Tema Central Warehouse
LV Fuselink- 100 Amps | 13719 | LV Fuse Equipment | LFU005 | pcs | Tema Central Warehouse
LV Fuselink- 200 Amps | 566 | LV Fuse Equipment | LFU006 | pcs | Tema Central Warehouse
LV Fuselink- 300 Amps | -492 | LV Fuse Equipment | LFU007 | pcs | Tema Central Warehouse
Earthrod C/W Clamps | 11070 | Earthing & Grounding | EM001 | set | Tema Central Warehouse
Tension Clamps | 0 | Earthing & Grounding | EM003 | pcs | Tema Central Warehouse
4X25Sqmm Underground Cable-Alu | 150 | Cables & Conductors | CCA001 | m | Tema Central Warehouse
16Sqmm Pvc Cu Conductor | -713 | Cables & Conductors | CCA09 | m | Tema Central Warehouse
16 sq.mm HD Cu Conductor | 494 | Cables & Conductors | CCA003 | m | Tema Central Warehouse
25Sqmm PVC Al. Conductor | 5557018.5 | Cables & Conductors | CCA004 | m | Tema Central Warehouse
35 sqmm PVC Cu Conductor | 11371 | Cables & Conductors | CCA005 | m | Tema Central Warehouse
35sqmm Hd Bare Stranded Conductor-Cu | 3300 | Cables & Conductors | CCA06 | m | Tema Central Warehouse
120Sqmm Hd Bare Stranded Conductor-Alu | 0 | Cables & Conductors | CCA07 | m | Tema Central Warehouse
Cable Roller C/W Accessories | 0 | Cables & Conductors | CCA08 | set | Tema Central Warehouse
Abc Cable 50Sqmm Conductor | 0 | Cables & Conductors | CCA010 | m | Tema Central Warehouse
70 Sqmm HD Al Conductor | 0 | Cables & Conductors | CCA011 | m | Tema Central Warehouse
120 sqmm HD AL. Conductor | -611.32 | Cables & Conductors | CCA012 | km | Tema Central Warehouse
50 sqmm HD AL. Conductor | 37605.734 | Cables & Conductors | CCA017 | km | Tema Central Warehouse
120Sqmm PVC Alu Conductor | 0 | Cables & Conductors | CCA014 | m | Tema Central Warehouse
35 sqmm HD Cu Conductor | 13937.4 | Cables & Conductors | CCA015 | m | Tema Central Warehouse
35 sq.mm PVC Alu Conductor | 3221 | Cables & Conductors | CCA016 | m | Tema Central Warehouse
Shackle Insulator | 491948 | Service Connection Materials | SCM001 | pcs | Tema Central Warehouse
Shackle Insulator Straps c/w Pins | 42736 | Service Connection Materials | SCM002 | pcs | Tema Central Warehouse
Coachscrew (Won Piece) Insulators | 1431162 | Service Connection Materials | SCM003 | pcs | Tema Central Warehouse
D-Brackets complete | 591307 | Service Connection Materials | SCM004 | pcs | Tema Central Warehouse
Service Cut-Out C/W Fuse - 30A | 16020 | Service Connection Materials | SCM006 | pcs | Tema Central Warehouse
Service Cut-Out C/W Fuse - 60A | 5507 | Service Connection Materials | SCM007 | pcs | Tema Central Warehouse
30A Single Phase Fuse Unit | 63766 | Service Connection Materials | SCM008 | pcs | Tema Central Warehouse
100Amps 1-PH Service Cut-Out | 717 | Service Connection Materials | SCM009 | pcs | Tema Central Warehouse
100Amps 3-PH Service Cut-Out | 5900 | Service Connection Materials | SCM010 | pcs | Tema Central Warehouse
1-phase Meters, 5/60A | -500 | Metering Equipment | EMSP002 | pcs | Tema Central Warehouse
3-phase Meters, 10/100A | 6033 | Metering Equipment | EMTP002 | pcs | Tema Central Warehouse
5/25Amps | -692 | Metering Equipment | EMSP001 | set | Tema Central Warehouse
3-Ph Electronic Credit Meter | 0 | Metering Equipment | EMTP004 | pcs | Tema Central Warehouse
150 Watts Led C/W (Photocell & Bolts & Nuts) | 847488 | Street Lighting | SLA001 | set | Tema Central Warehouse
250 Watts Street Light | -3377 | Street Lighting | SLA002 | pcs | Tema Central Warehouse
Photocell | 0 | Street Lighting | SLA003 | pcs | Tema Central Warehouse
Cork-Screw/Pin Type Lamp Holders | 984000 | Street Lighting |  | pcs | Tema Central Warehouse
Lamp Cover-Glass | 0 | Street Lighting | SLA005 | pcs | Tema Central Warehouse
Led Street Lights C/W Solar Accessories | 0 | Street Lighting | SLA006 | pcs | Tema Central Warehouse
Smart All-In-One Solar Streetlighting (Self-Cleaning) | 14102 | Street Lighting | SLA007 | pcs | Tema Central Warehouse
10M Steel Tubular Pole (All-in-one Solar Streetlight) | 2245880 | Street Lighting | LHP001 | Pcs | Tema Central Warehouse
6 Watts | 0 | Lamps & Bulbs | LB001 | pcs | Tema Central Warehouse
8 Watts | 1461745 | Lamps & Bulbs | LB002 | pcs | Tema Central Warehouse
9 Watts | 9810365 | Lamps & Bulbs | LB003 | pcs | Tema Central Warehouse
13 Watts | 0 | Lamps & Bulbs | LB004 | pcs | Tema Central Warehouse
22 Watts | 3240 | Lamps & Bulbs | LB005 | pcs | Tema Central Warehouse
Solar Lantern Panel | 0 | Solar Equipment | SL001 | pcs | Tema Central Warehouse
Solar Panel | 0 | Solar Equipment | SL002 | pcs | Tema Central Warehouse
Lamp Holder Converter | 0 | Solar Equipment | SL003 | pcs | Tema Central Warehouse
Solar Cell System (Stabilizer) | 0 | Solar Equipment | SL004 | pcs | Tema Central Warehouse
Nylon Wall Plug Screws | 0 | Solar Equipment | SL005 | pcs | Tema Central Warehouse
Mounting Structure | 0 | Solar Equipment | SL006 | pcs | Tema Central Warehouse
Solar Battery 112V 150A | 0 | Solar Equipment | SL007 | pcs | Tema Central Warehouse
Solar Power Led Lamps | 0 | Solar Equipment | SL008 | pcs | Tema Central Warehouse
Switch Board | 65 | Solar Equipment | SL010 | pcs | Tema Central Warehouse
9X5 Solar Model Structure | 8960 | Solar Equipment | SL011 | no | Tema Central Warehouse
High Sodium Pressure Bulb | 445 | Lamps & Bulbs | SL012 | no | Tema Central Warehouse
Lamp | 14138 | Lamps & Bulbs | SL013 | no | Tema Central Warehouse

## Warehouses (create in app)
name | code | location | contact_person | contact_phone | contact_email | notes
Tema Central Warehouse | WH-TEMA | Tema Industrial Area, Greater Accra
Kumasi Depot | WH-KSI | Kaase, Kumasi, Ashanti

## Instructions
Stock (Inventory Items) Bulk Import
Column | Required? | Notes
name | REQUIRED | Material name. BOQ uploads later match on this EXACT name - agree the naming once and stick to it.
quantity | REQUIRED | Opening stock quantity (number). If the code already exists, the quantity is ADDED to current stock.
category | REQUIRED | Must already exist in the system - import file 01 (Categories & Units) first. Matched by exact name.
code | REQUIRED | Unique material code. Used as the upsert key - re-uploading the same code adds quantity.
unit | REQUIRED | Must already exist (file 01). Matched by exact name, e.g. Bags, Pieces, Drums, Metres.
warehouse | REQUIRED | Must already exist. Warehouses are created in the app (Warehouses > Add) - see the Warehouses sheet here for what to prepare.
IMPORTANT NOTES
• Upload in the app: Dashboard > Upload Inventory (superuser only).
• Headers must be lowercase exactly as shown.
• Import order: Categories & Units first, then create Warehouses in the app, THEN upload this file.
• The rows in the Template sheet are EXAMPLES - replace them with your real data before uploading.
• Do not rename, reorder or delete the header row.
• Keep spelling of names consistent across all files (the system matches by exact name).